## Sheet1
Run3408
***Efficiency Tests. Measurements from Maestro for live time and from Radware for photopeak area.***
	Source Data	Error
original activity (s-1)	38480	384.8
half life (s)	166371667.2	31557.6
lifetime (s)	240023579.2	45528.0
date of calibration	06/01/2007	---

Frequency	714.285714285714
Number of pulses recorded	3765733
Live time	5272.0262

All Data taken with the source 25 cm below the bottom face of the detector unless otherwise stated
Channel 1
	date of measurement	N photopeak (1332 keV)	dN	measurement live time (s)	dt (s)	time since source calibration (s)	current source activity (s-1)	dA (s-1)	Efficiency	dEff
Core01	09/17/2014	37052	262	5272.0262	0	230256000	14743.951	147.464	0.0004767	0.0000058
Core02	09/17/2014	37110	263	5272.0262	0	230256000	14743.951	147.464	0.0004774	0.0000059
Core03	09/17/2014	37511	264	5272.0262	0	230256000	14743.951	147.464	0.0004826	0.0000059
Core04	09/17/2014	37432	263	5272.0262	0	230256000	14743.951	147.464	0.0004816	0.0000059

	Rel. Efficiency (% 3”x3” NaI)	Error
Core01	39.7	0.5
Core02	39.8	0.5
Core03	40.2	0.5
Core04	40.1	0.5
Average	40.0	0.2
Stdev	0.245

Run3409
***Efficiency Tests. Measurements from Maestro for live time and from Radware for photopeak area.***
	Source Data	Error
original activity (s-1)	38480	384.8
half life (s)	166371667.2	31557.6
lifetime (s)	240023579.2	45528.0
date of calibration	06/01/2007	---

Frequency	714.285714285714		1.40E+000	0.02
Number of pulses recorded	1.041145e7
Live time	14576.03

All Data taken with the source 25 cm below the bottom face of the detector unless otherwise stated
Channel 1
	date of measurement	N photopeak (1332 keV)	dN	measurement live time (s)	dt (s)	time since source calibration (s)	current source activity (s-1)	dA (s-1)	Efficiency	dEff		N photopeak (1173 keV)	dN	measurement live time (s)	dt (s)	time since source calibration (s)	current source activity (s-1)	dA (s-1)	Efficiency	dEff
Core01	09/17/2014	102451	437	14576.03	0	230256000	14743.951	147.464	0.0004767	0.0000052		111619	467	14576.03	0	230256000	14743.951	147.464	0.0005194	0.0000056
Core02	09/17/2014	103207	438	14576.03	0	230256000	14743.951	147.464	0.0004802	0.0000052		111446	469	14576.03	0	230256000	14743.951	147.464	0.0005186	0.0000056
Core03	09/17/2014	103230	439	14576.03	0	230256000	14743.951	147.464	0.0004803	0.0000052		112085	471	14576.03	0	230256000	14743.951	147.464	0.0005215	0.0000057
Core04	09/17/2014	104313	440	14576.03	0	230256000	14743.951	147.464	0.0004854	0.0000053		112965	471	14576.03	0	230256000	14743.951	147.464	0.0005256	0.0000057

	Rel. Efficiency (% 3”x3” NaI)	Error					0.0019226855	1.04453589221097E-005					0.0020851455	0.000011306
Core01	39.7	0.4
Core02	40.0	0.4
Core03	40.0	0.4
Core04	40.4	0.4
Average	40.1	0.2
Stdev	0.297

All Data taken with the source 25 cm below the bottom face of the detector unless otherwise stated
Channel 1
	date of measurement	N photopeak (1332 keV)	dN	measurement live time (s)	dt (s)	time since source calibration (s)	current source activity (s-1)	dA (s-1)	Efficiency	dEff		N photopeak (1173 keV)	dN	measurement live time (s)	dt (s)	time since source calibration (s)	current source activity (s-1)	dA (s-1)	Efficiency	dEff
All Cores	09/17/2014	572944	1150	14576.03	0	230256000	14743.951	147.464	0.0026660	0.0000272		615732	1302	14576.03	0	230256000	14743.951	147.464	0.0028651	0.0000293
Core02	09/17/2014	103207	438	14576.03	0	230256000	14743.951	147.464	0.0004802	0.0000052		111446	469	14576.03	0	230256000	14743.951	147.464	0.0005186	0.0000056
Core03	09/17/2014	103230	439	14576.03	0	230256000	14743.951	147.464	0.0004803	0.0000052		112085	471	14576.03	0	230256000	14743.951	147.464	0.0005215	0.0000057
Core04	09/17/2014	104313	440	14576.03	0	230256000	14743.951	147.464	0.0004854	0.0000053		112965	471	14576.03	0	230256000	14743.951	147.464	0.0005256	0.0000057

	Rel. Efficiency (% 3”x3” NaI)	Error					0.0041119591	2.86680808586776E-005					0.0044308579	3.08864161222212E-005
Core01	222.2	2.3
Core02	40.0	0.4
Core03	40.0	0.4
Core04	40.4	0.4
Average	85.7	0.6
Stdev	91.000