## Sheet1
***Efficiency Tests. Measurements from Maestro for live time and from Radware for photopeak area.***					0.5880726971	1.7004700353
	Source Data			Error
original activity (s-1)	38480			384.8
half life (s)	166371667.2			31557.6					0.0070239271	58.5327257415
lifetime (s)	240023579.2			45528.0					0.0066412057	55.3433804667
date of calibration	2007-06-01			---
				8192
All Data taken with the source 25 cm below the bottom face of the detector unless otherwise stated					1173.228
Channel 1
				date of measurement	N photopeak	dN	measurement live time (s)	dt (s)	time since source calibration (s)	current source activity (s-1)	dA (s-1)	Efficiency	dEff
1173.228	0.003			2014-09-17	6.04E+006	1.10E+003	14576.03	0	230256000	14744	147	0.0280957	0.0002811	1173.22800000		1173.228	0.0280957084	0.0002810502		7.0675142032	-3.5721384419	0.0100033144	-0.280037143
1332.492	0.004			2014-09-17	5.71E+006	1.00E+003	14576.03	0	230256000	14744	147	0.0265648	0.0002657	1332.49200000		1332.492	0.0265648226	0.0002657329		7.1948061523	-3.6281673962	0.0100031891	-0.2757091391

		Eu-152
		Area	Error			Energy	Error	br(E)	Error	Area Relative are to 1400~keV	Error	Branching Ratio	Error				Relative Efficiency	Error
		745561	1362	746	1	121.777	0.005	28.530	0.016	4.17	0.02	1.367	0.006			121.7770	3.05232	0.01798	0.5890001766	4.8021915	1.1159026	0.0058900	0.5278239971	3.052321996		-1.9364193849					108085.638681403		4.8021915	1.4881737	1.0000000
		145583	118	146	0	244.70	0.01	7.55	0.04	0.815	0.003	0.362	0.002			244.7000	2.25223	0.01741	0.7730865169	5.5000330	0.8119206	0.0077309	0.9521700639	225.2229531897		-224.411032561					842620867.333551		5.5000330	1.2689629	1.0000000
		440053	983	440	1	344.2785	0.0012	26.6	0.02	2.46	0.01	1.274	0.006			344.2785	1.93302	0.01169	0.6049468951	5.8414509	0.6590818	0.0060495	0.9178631608	193.3016604427		-192.6425786525					1014074966.29048		5.8414509	1.0273973	1.0000000
		46420	408.447058993	46	0	443.965	0.003	3.15	0.02	0.260	0.002	0.1511	0.0013			443.9650	1.71907	0.02205	1.2823983937	6.0957457	0.5417807	0.0128240	2.3670062709	171.9065335486		-171.3647528151					178565299.684456		6.0957457	0.8200490	1.0000000
		150815	572.5399549376	150.8	0.6	778.9045	0.00024	12.93	0.08	0.844	0.004	0.620	0.005			778.9045	1.36237	0.01247	0.9150588939	6.6578884	0.3092255	0.0091506	2.9591956361	136.2369616354		-135.9277360869					220657185.474959		6.6578884	0.4149575	1.0000000
		44817	380.5798207998	44.8	0.4	867.380	0.003	4.23	0.03	0.251	0.002	0.203	0.002			867.3800	1.23752	0.01533	1.2387549512	6.7654772	0.2131074	0.0123875	5.8128210676	123.7517503853		-123.5386430254					99456883.5446409		6.7654772	0.3297884	1.0000000
		152493	562.1618983887	152.5	0.6	964.057	0.005	14.51	0.07	0.853	0.004	0.695	0.004			964.0570	1.22753	0.01012	0.82403855	6.8711504	0.2050024	0.0082404	4.0196522498	122.7528069551		-122.5478045075					221164802.39632		6.8711504	0.2694067	1.0000000
		131382	573.3846876225	131	1	1112.069	0.03	13.67	0.08	0.735	0.004	0.655	0.005			1112.0690	1.12258	0.01031	0.9183447426	7.0139775	0.1156273	0.0091834	7.9422843459	112.2577388057		-112.1421115249					149116592.239287		7.0139775	0.1547657	1.0000000
		13055	224.9844439067	13.1	0.2	1212.948	0.011	1.415	0.008	0.073	0.001	0.0678	0.0005			1212.9480	1.07763	0.02045	1.897369853	7.1008090	0.0747635	0.0189737	25.37829354	107.7629253099		-107.6881618176					32213056.620117		7.1008090	0.0997521	1.0000000
		14199	310.0983714888	14.2	0.3	1299.142	0.008	1.633	0.011	0.079	0.002	0.0782	0.0006			1299.1420	1.01559	0.02389	2.3523958573	7.1694593	0.0154745	0.0235240	152.0171081145	101.5594897612		-101.5440152143					18633217.4582409		7.1694593	0.0531205	1.0000000
		178679	630.2959622273	179	1	1408.006	0.003	20.87	0.09	1.000	0.005	1.000	0.006			1408.0060	1.00000	0.00788	0.7879132722	7.2499298	0.0000000	0.0078791	#DIV/0!	100		-100					161080573.716016		7.2499298	0.0000000	1.0000000
				0	1
				0.0	1.4
		Ba-133
		Area	Error			Energy	Error	Ratio	Error	Area Relative are to 1400~keV	Error	Branching Ratio	Error				Relative Efficiency	Error
5.49E+003	0.4749048114	21816	958.8899832619	21.8	1.0	53.1622	0.0006	2.14	0.03	0.4578	0.021	0.24	0.004			53.16220	1.913	0.091	4.7546642791	3.9733476	0.6484278	0.04754664	7.3326037894	0		0.6484278185					185.9874166511
8.34E+004	7.2198857736			0.0	0.0	79.6142	0.0012	2.65	0.05	0.0000	#DIV/0!	0.30	0.01			79.61420	0.00	#DIV/0!	#DIV/0!	4.3771925	Err:502	#DIV/0!	#DIV/0!					4.3771925	0.1519379	1.0000000
5.71E+004	5	331483	1313	331.5	1.3	80.9979	0.0011	35.6	0.3041381265	0.8915	0.00414	0.57	0.00490			80.99790	1.556042	0.015150	0.9736116886	4.3944232	0.4421455	0.0097361	2.2020165054	0		0.4421454999					2062.3333277718		4.3944232	0.1736337	1.0000000
		51255	511	51.3	0.5	276.3989	0.0012	7.2	0.05	0.1378	0.00141	0.12	0.00081			276.39890	1.194601	0.014828	1.2412593364	5.6218451	0.1778123	0.0124126	6.9807272881	0		0.1778123232					205.2100640691		5.6218451	0.2447143	1.0000000
		116200	615	116.2	0.6	302.8508	0.0005	18.3	0.13	0.3125	0.00182	0.30	0.00210			302.85080	1.057320	0.009700	0.9174245584	5.7132403	0.0557375	0.0091742	16.4597342053	0		0.0557375075					36.9108770115		5.7132403	0.1787626	1.0000000
8.46E+004	7.3203530633	371828	902	371.8	0.9	356.0129	0.0007	62.05	0.01	1.0000	0.00343	1.00	0.00023			356.01290	1.000000	0.003438	0.3438236331	5.8749670	0.0000000	0.0034382	#DIV/0!	0		0					0		5.8749670	0.0584730	1.0000000
1.16E+004		47653	445	47.7	0.4	383.8485	0.0012	8.94	0.06	0.1282	0.00124	0.14	0.00097			383.84850	0.889513	0.010455	1.1754079185	5.9502479	-0.1170809	0.0117541	-10.039282228	0		-0.1170808721					99.2189605929		5.9502479	0.0000000	1.0000000

		Co-56
		Area	Error			Energy	Error	Ratio	Error	Area Relative are to 1400~keV	Error	Branching Ratio	Error				Relative Efficiency	Error
		254614	731.6481394769	255	1	846.51	0.006	99.940	0.0001	1.7893641992	0.0089506407	1.504	0.003			846.5100	1.18993	0.02929	2.4613907537	6.7411220	0.1738916	0.0246139	14.1547406155	0		0.1738916184		1.1899265927		7.0647709284		49.9109882712		6.7411220	0.2791331	1.0000000
		32492	320.5448486562	32.5	0.3	1037.843	0.004	14.050	0.04	0.2283457373	0.0024390177	0.211	0.0007			1037.8430	1.08013	0.02847	2.6361186912	6.9448998	0.0770835	0.0263612	34.198240207	0		0.0770834603		1.0801322208		2.9241270719		8.5505191325		6.9448998	0.1370649	1.0000000
		142293	582.6027806319	142	1	1238.288	0.003	66.460	0.12	1.0000000	0.0057903393	1.000	0.003			1238.2880	1.00000	0.02479	2.4786107449	7.1214851	0.0000000	0.0247861	#DIV/0!	0		0		1		0		0		7.1214851	0.0000000	1.0000000
		8314	200.3696583817	8.3	0.2	1360.212	0.004	4.230	0.07	0.0584287351	0.0014283252	0.064	0.0011			1360.2120	0.91801	0.03151	3.4327979851	7.2153958	-0.0855492	0.0343280	-40.126593017	0		-0.0855492013		0.9180079747		-2.4921128977		6.2106266951		7.2153958	-0.0321672	1.0000000
		4826	98.488578018	4.8	0.1	2015.215	0.005	3.016	0.012	0.033915934	0.000705946	0.045	0.0002			2015.2150	0.74737	0.02380	3.1844464748	7.6084812	-0.2912015	0.0318445	-10.9355416243	0		-0.2912015321		0.7473650448		-9.1444944782		83.6217792622		7.6084812	-0.3853177	1.0000000
		12054	180.5463929299	12.1	0.2	2034.791	0.005	7.770	0.03	0.0847125298	0.0013153879	0.117	0.0005			2034.7910	0.72458	0.02077	2.8669348101	7.6181484	-0.3221617	0.0286693	-8.8990565299	0		-0.3221616584		0.7245810462		-11.2371462822		126.2734565676		7.6181484	-0.3671271	1.0000000
		22396	204.3942269243	22.4	0.2	2598.5	0.004	16.970	0.04	0.1573935471	0.0015743657	0.255	0.0008			2598.5000	0.61640	0.01608	2.6093634727	7.8626896	-0.4838528	0.0260936	-5.3928874758	0		-0.4838527569		0.6164039565		-18.5429420599		343.8407002359		7.8626896	-0.5793814	1.0000000
		1318	77.6981338257	1.3	0.1	3009.645	0.004	1.036	0.013	0.0092625779	0.0005473587	0.016	0.0002			3009.6450	0.59420	0.03792	6.3819053137	8.0095774	-0.5205398	0.0638191	-12.2601688527	0		-0.5205397569		0.594199738		-8.156494515		66.5284027735		8.0095774	-0.7227026	1.0000000
		3760	97.4987179403	3.8	0.1	3202.029	0.008	3.209	0.012	0.0264243498	0.0006936859	0.048	0.0002			3202.0290	0.54726	0.01950	3.5636757165	8.0715400	-0.6028285	0.0356368	-5.9115917535	0		-0.6028284538		0.5472615409		-16.9159177712		286.1482740423		8.0715400	-0.7756718	1.0000000
		8874	155.1934276959	8.9	0.2	3253.503	0.004	7.923	0.021	0.0623642765	0.0011201526	0.119	0.0004			3253.5030	0.52313	0.01572	3.0057222539	8.0874875	-0.6479323	0.0300572	-4.6389447936	0		-0.6479323181		0.5231263181		-21.5566264417		464.688143547		8.0874875	-0.8382633	1.0000000
		2088	64.88451279	2.1	0.1	3273.079	0.004	1.876	0.02	0.0146739474	0.0004599334	0.028	0.0003			3273.0790	0.51987	0.02055	3.9537831717	8.0934864	-0.6541699	0.0395378	-6.0439696638	0		-0.6541699234		0.5198734183		-16.5454172611		273.7508323423		8.0934864	-0.7837287	1.0000000
		1015	52.3927475897	1.0	0.1	3451.232	0.004	0.949	0.005	0.0071331689	0.0003693598	0.014	0.00008			3451.2320	0.49955	0.02853	5.7114390548	8.1464865	-0.6940530	0.0571144	-8.229111343	0		-0.6940529562		0.4995473172		-12.1519804305		147.6706283833		8.1464865477	-0.9030983758	1.0000000

		254.6	0.7
		32.5	0.3
		142.3	0.6					2937695977.25174
		8.31	0.20
		4.83	0.10
		12.05	0.18
		22.4	0.2
		1.32	0.08
		3.76	0.10
		8.87	0.16					Without 53
		2.09	0.06
		1.02	0.05
				1	x	X^2
				0.3173105079			1.7108820799				1	2.86E-002	-9.15E-003	7.22E-004	-3.31E-003	1.87E-005	3.04E-004	-5.78E-004	-5.78E-004
				x	-9.15E-003	2.95E-003	-2.34E-004	1.03E-003	-3.39E-005	-1.30E-004	1.74E-004	1.74E-004
				Old					X^2	7.22E-004	-2.34E-004	1.86E-005	-7.91E-005	3.39E-006	1.13E-005	-1.41E-005	-1.41E-005
Gears		New					1.7081407613					-3.31E-003	1.03E-003	-7.91E-005	6.25E-004	6.26E-006	-3.44E-005	5.08E-005	5.08E-005
				53.1622	14201	569		0.0505233423					1.87E-005	-3.39E-005	3.39E-006	6.26E-006	6.47E-005	6.39E-005	4.62E-005	4.62E-005
5.46E+003	0.0557953523	53.1622	5913	344		0.0605672611		79.6142					3.04E-004	-1.30E-004	1.13E-005	-3.44E-005	6.39E-005	9.55E-005	3.94E-005	3.94E-005
3.41E+004	0.3484371164	79.6142	35229	291				80.9979					-5.78E-004	1.74E-004	-1.41E-005	5.08E-005	4.62E-005	3.94E-005	1.11E-004	1.11E-004
4.28E+005	4.3763910482	80.9979	429461	949				276.3989
		276.3989	100011	448				302.8508
		302.8508	239719	671				356.0129					-1.672893		604	6.4035741979	3.68E-003		3.74E-003		6.62677716781698E-005	1.8020125759
7.19E+005	7.3526818591	356.0129	718804	1137				383.8485	281078	832					-0.491857		661	6.4937538399	3.44E-003		3.50E-003		6.10321409317705E-005	1.7738733975
9.78E+004		383.8485	97627	422					-0.019095		795	6.6783421147	3.00E-003		3.05E-003		5.12225568957002E-005	1.7077279172
				911	6.8145428973	2.71E-003		2.75E-003		4.488215743786E-005	1.6571629894
				1460	7.2861917147	1.89E-003		1.92E-003		3.05131330124802E-005	1.6131694207

				83	13207	304
		80.9979	800.573				0.1009027418	0.232724261
		276.3989	2736.74				0.000012536	0.0371931444
		302.8508	2998.852				0.9999999537	0.0295832156
		356.0129	3525.94				64787009.2642142	3
		383.8485	3802.19				56699.4297032201	0.0026254999					1	x	2x*x_0-x_0^2	(x-x_0)^2	1	1	1
				1	2.86E-002	-9.15E-003	7.22E-004	-3.31E-003
				x	-9.15E-003	2.95E-003	-2.34E-004	1.03E-003					x0	195.469199	5.2754028171
				2x*x_0-x_0^2	7.22E-004	-2.34E-004	1.86E-005	-7.91E-005
				(x-x_0)^2	-3.31E-003	1.03E-003	-7.91E-005	6.25E-004
		80.9979	361.975				0.2240362309	-0.061050542					1					2x*x_0-x_0^2	27.8298748831
		276.3989	1233.688				6.28165618209328E-005	0.0840157891					1					(x-x_0)^2	0
		302.8508	1351.841				0.9999997642	0.0667644397					1
		356.0129	1589.4323				12720031.6206728	3
		383.8485	1713.902				56699.4189562488	0.0133724712

				1	x	2x*x_0-x_0^2	(x-x_0)^2	x^2	X(2x*x_0-x_0^2)	(2x*x_0-x_0^2)^2	(x-x_0)^2*(2x*x_0-x_0^2)	(x-x_0)^4	x*(x-x_0)^2
				0.02860123	-0.01830906	0.0014445162	-0.006618336	2.95E-003	-0.0004680492	1.86E-005	-0.0001581142	6.25E-004	0.002055714
				-0.0965876667	0.0402007051	0	0.0821742734	-0.0687160818	0.0144157736	0	0	0	7.23E-002
				-1.672893					2.8601E-002	-1.8309E-002	4.3973E-003	2.0557E-003	6.2480E-004
				-0.491857
				-0.019095					prediction	error
				-1.181594		alpha	-34.02509		195.469199	5.2754028171	0.0082375353	1.3959E-002					8.82336001046206E-005		0.0278739652
				2.7294585598		beta	11.773442
				2.3564704082					2.302585093
				2.6771972141					1	x	X^2	X^3	X^4
				2.86E-002	-0.01830906	0.0043972522	-0.0004680492	1.86E-005

				1	2.86E-002	-9.15E-003	7.22E-004	-3.31E-003		-1.672893	a		1	x	X^2	X^3	X^4
				0	-9.15E-003	2.95E-003	-2.34E-004	1.03E-003		-0.491857	b		2.86E-002	-0.01830906	-0.0036656	0.002055714	6.25E-004		0.1691189818
				0	7.22E-004	-2.34E-004	1.86E-005	-7.91E-005		-0.019095	c
				0	-3.31E-003	1.03E-003	-7.91E-005	6.25E-004		-1.181594	g
				1	x	2xx_0-x_0^2	(x-x_0)^2	x(2xx_0-x_0^2 )	(2xx_0-x_0^2 )^2	(x-x_0)^4	(2xx_0-x_0^2)*(x-x_0)^2	x(x-x_0)^2	X^2
				2.86E-002	-0.01830906	0.0014445162	-0.006618336	-0.0004680492	1.86E-005	6.25E-004	-0.0001581142	0.002055714	2.95E-003
				-0.0800004829	0.0263932179	-0.0054320284	-0.0373669796	0.0062137718	0.0004208876	-0.0023711233	0.0073722911	0.0563738558		2.05E-004

				x	2xx_0-x_0^2	(x-x_0)^2		error		prediction
				79	4.3694478525	18.2713201374	0.820754398		0.0060408838		0.0058534395			3.2022937338
				27	81.8400577102	251.4778588279			-71.9211446596

				2.86E-002	-9.15E-003	7.22E-004	-3.31E-003	1.87E-005	3.04E-004	-5.78E-004
				-9.15E-003	2.95E-003	-2.34E-004	1.03E-003	-3.39E-005	-1.30E-004	1.74E-004
				7.22E-004	-2.34E-004	1.86E-005	-7.91E-005	3.39E-006	1.13E-005	-1.41E-005
				-3.31E-003	1.03E-003	-7.91E-005	6.25E-004	6.26E-006	-3.44E-005	5.08E-005
				1.87E-005	-3.39E-005	3.39E-006	6.26E-006	6.47E-005	6.39E-005	4.62E-005
				3.04E-004	-1.30E-004	1.13E-005	-3.44E-005	6.39E-005	9.55E-005	3.94E-005
				-5.78E-004	1.74E-004	-1.41E-005	5.08E-005	4.62E-005	3.94E-005	1.11E-004

## Sheet2
				With 53

				1	x	X^2
	1.7081407613				1	2.86E-002	-9.15E-003	7.22E-004	-3.31E-003	1.87E-005	3.04E-004	-5.78E-004	-5.78E-004
				x	-9.15E-003	2.95E-003	-2.34E-004	1.03E-003	-3.39E-005	-1.30E-004	1.74E-004	1.74E-004
				X^2	7.22E-004	-2.34E-004	1.86E-005	-7.91E-005	3.39E-006	1.13E-005	-1.41E-005	-1.41E-005
	1.7081407613					-3.31E-003	1.03E-003	-7.91E-005	6.25E-004	6.26E-006	-3.44E-005	5.08E-005	5.08E-005
				1.87E-005	-3.39E-005	3.39E-006	6.26E-006	6.47E-005	6.39E-005	4.62E-005	4.62E-005
				3.04E-004	-1.30E-004	1.13E-005	-3.44E-005	6.39E-005	9.55E-005	3.94E-005	3.94E-005
				-5.78E-004	1.74E-004	-1.41E-005	5.08E-005	4.62E-005	3.94E-005	1.11E-004	1.11E-004

				-2.119256		604	6.4035741979	3.67E-003		3.80E-003		0.0001247491	3.3963431216
				-0.361421		661	6.4937538399	3.44E-003		3.55E-003		0.0001149594	3.3429023254
				-0.028608		795	6.6783421147	3.00E-003		3.10E-003		0.000096546	3.2173321133
				911	6.8145428973	2.71E-003		2.79E-003		8.460091058226E-005	3.1213878433
				1460	7.2861917147	1.89E-003		1.95E-003		5.74046310875802E-005	3.0379461515

				1	x	2x*x_0-x_0^2	(x-x_0)^2	1	1	1
				1	2.86E-002	-9.15E-003	7.22E-004	-3.31E-003
				x	-9.15E-003	2.95E-003	-2.34E-004	1.03E-003					x0	176.730811	5.1746277331
				2x*x_0-x_0^2	7.22E-004	-2.34E-004	1.86E-005	-7.91E-005
				(x-x_0)^2	-3.31E-003	1.03E-003	-7.91E-005	6.25E-004
				1					2x*x_0-x_0^2	26.7767721763
				1					(x-x_0)^2	0
				1

				1	x	2x*x_0-x_0^2	(x-x_0)^2	x^2	X(2x*x_0-x_0^2)	(2x*x_0-x_0^2)^2	(x-x_0)^2*(2x*x_0-x_0^2)	(x-x_0)^4	x*(x-x_0)^2
				0.02860123	-0.01830906	0.0014445162	-0.006618336	2.95E-003	-0.0004680492	1.86E-005	-0.0001581142	6.25E-004	0.002055714
				-0.0947425696	0.0386794812	0	0.0790647392	-0.0648528166	0.0133454091	0	0	0	7.52E-002
-2.119256					2.8601E-002	-1.8309E-002	4.3973E-003	2.0557E-003	6.2480E-004
-0.361421
-0.028608					prediction	error
-1.531272		alpha	-42.35575		176.730811	5.1746277331	0.0086042391	1.4423E-002					9.54732002483825E-005		0.0275573317
2.7294585598		beta	15.190034
2.3564704082					2.302585093
2.6771972141					1	x	X^2	X^3	X^4
				2.86E-002	-0.01830906	0.0043972522	-0.0004680492	1.86E-005

				1	2.86E-002	-9.15E-003	7.22E-004	-3.31E-003		-2.119256	a		1	x	X^2	X^3	X^4
				0	-9.15E-003	2.95E-003	-2.34E-004	1.03E-003		-0.361421	b		2.86E-002	-0.01830906	-0.0036656	0.002055714	6.25E-004		0.1691189818
				0	7.22E-004	-2.34E-004	1.86E-005	-7.91E-005		-0.028608	c
				0	-3.31E-003	1.03E-003	-7.91E-005	6.25E-004		-1.531272	g
				1	x	2xx_0-x_0^2	(x-x_0)^2	x(2xx_0-x_0^2 )	(2xx_0-x_0^2 )^2	(x-x_0)^4	(2xx_0-x_0^2)*(x-x_0)^2	x(x-x_0)^2	X^2
				2.86E-002	-0.01830906	0.0014445162	-0.006618336	-0.0004680492	1.86E-005	6.25E-004	-0.0001581142	0.002055714	2.95E-003
				-0.0843163372	0.0301662804	-0.0021462066	-0.0450128528	0.0081173475	0.000065703	-0.0010707622	0.0030699485	0.0626204217		9.48E-005

				x	2xx_0-x_0^2	(x-x_0)^2		error		prediction
				100	4.605170186	20.8833105439	0.324281898		0.0079265326		0.0076148518			4.0930642881
				27	81.8400577102	251.4778588279			-71.9211446596

1.87E-005	3.04E-004	-5.78E-004
-3.39E-005	-1.30E-004	1.74E-004
3.39E-006	1.13E-005	-1.41E-005