## Sheet1
Run3408
***Efficiency Tests. Measurements from Maestro for live time and from Radware for photopeak area.***
	Source Data	Error
original activity (s-1)	38480	384.8
half life (s)	166371667.2	31557.6
lifetime (s)	240023579.2	45528.0
date of calibration	2007-06-01	---

Frequency	714.285714285714
Number of pulses recorded	3765733
Live time	5272.0262

All Data taken with the source 25 cm below the bottom face of the detector unless otherwise stated
Channel 1
	date of measurement	N photopeak (1332 keV)	dN	measurement live time (s)	dt (s)	time since source calibration (s)	current source activity (s-1)	dA (s-1)	Efficiency	dEff
Core01	2014-09-17	37052	262	5272.0262	0	230256000	14743.951	147.464	0.0004767	0.0000058
Core02	2014-09-17	37110	263	5272.0262	0	230256000	14743.951	147.464	0.0004774	0.0000059
Core03	2014-09-17	37511	264	5272.0262	0	230256000	14743.951	147.464	0.0004826	0.0000059
Core04	2014-09-17	37432	263	5272.0262	0	230256000	14743.951	147.464	0.0004816	0.0000059

	Rel. Efficiency (% 3”x3” NaI)	Error
Core01	39.7	0.5
Core02	39.8	0.5
Core03	40.2	0.5
Core04	40.1	0.5
Average	40.0	0.2
Stdev	0.245

Run3409
***Efficiency Tests. Measurements from Maestro for live time and from Radware for photopeak area.***
	Source Data	Error
original activity (s-1)	38480	384.8
half life (s)	166371667.2	31557.6
lifetime (s)	240023579.2	45528.0
date of calibration	2007-06-01	---

Frequency	714.285714285714	0.2	1.40E+000	0.02
Number of pulses recorded	1.041145e7
Live time	14576.03		4.0812884

All Data taken with the source 25 cm below the bottom face of the detector unless otherwise stated
Channel 1
	date of measurement	N photopeak (1332 keV)	dN	measurement live time (s)	dt (s)	time since source calibration (s)	current source activity (s-1)	dA (s-1)	Efficiency	dEff		N photopeak (1173 keV)	dN	measurement live time (s)	dt (s)	time since source calibration (s)	current source activity (s-1)	dA (s-1)	Efficiency	dEff
Core01	2014-09-17	102451	437	14576.03	0	230256000	14743.951	147.464	0.0004767	0.0000052		111619	467	14576.03	0	230256000	14743.951	147.464	0.0005194	0.0000056
Core02	2014-09-17	103207	438	14576.03	0	230256000	14743.951	147.464	0.0004802	0.0000052		111446	469	14576.03	0	230256000	14743.951	147.464	0.0005186	0.0000056
Core03	2014-09-17	103230	439	14576.03	0	230256000	14743.951	147.464	0.0004803	0.0000052		112085	471	14576.03	0	230256000	14743.951	147.464	0.0005215	0.0000057
Core04	2014-09-17	104313	440	14576.03	0	230256000	14743.951	147.464	0.0004854	0.0000053		112965	471	14576.03	0	230256000	14743.951	147.464	0.0005256	0.0000057

	Rel. Efficiency (% 3”x3” NaI)	Error					0.0019226855	1.04453589221097E-005					0.0020851455	0.000011306
Core01	39.7	0.4
Core02	40.0	0.4
Core03	40.0	0.4
Core04	40.4	0.4
Average	40.1	0.2
Stdev	0.297

All Data taken with the source 25 cm below the bottom face of the detector unless otherwise stated
Channel 1
	date of measurement	N photopeak (1332 keV)	dN	measurement live time (s)	dt (s)	time since source calibration (s)	current source activity (s-1)	dA (s-1)	Efficiency	dEff		N photopeak (1173 keV)	dN	measurement live time (s)	dt (s)	time since source calibration (s)	current source activity (s-1)	dA (s-1)	Efficiency	dEff
All Cores	2014-09-17	4131000	900	14576.03	0	230256000	14743.951	147.464	0.0192222	0.0001923		4488000	900	14576.03	0	230256000	14743.951	147.464	0.0208833	0.0002089			0.0052208322
Core02	2014-09-17	103207	438	14576.03	0	230256000	14743.951	147.464	0.0004802	0.0000052		111446	469	14576.03	0	230256000	14743.951	147.464	0.0005186	0.0000056
Core03	2014-09-17	103230	439	14576.03	0	230256000	14743.951	147.464	0.0004803	0.0000052		112085	471	14576.03	0	230256000	14743.951	147.464	0.0005215	0.0000057
Core04	2014-09-17	104313	440	14576.03	0	230256000	14743.951	147.464	0.0004854	0.0000053		112965	471	14576.03	0	230256000	14743.951	147.464	0.0005256	0.0000057

	Rel. Efficiency (% 3”x3” NaI)	Error					0.0206681207	0.0001925127					0.0224490945	0.0002091398
Core01	1601.8	16.0
Core02	40.0	0.4
Core03	40.0	0.4
Core04	40.4	0.4
Average	430.6	4.0
Stdev	780.840