## Sheet1
***Efficiency Tests. Measurements from Maestro for live time and from Radware for photopeak area.***
	Source Data			Error
original activity (s-1)	38480			384.8
half life (s)	166371667.2			31557.6
lifetime (s)	240023579.2			45528.0
date of calibration	06/01/2007			---
					8192
All Data taken with the source 25 cm below the bottom face of the detector unless otherwise stated
Channel 1
				date of measurement	N photopeak	dN	measurement live time (s)	dt (s)	time since source calibration (s)	current source activity (s-1)	dA (s-1)	Efficiency	dEff
1173.228	0.003			09/17/2014	4.49E+006	9.00E+002	14576.03	0	230256000	14744	147	0.0208833	0.0002089	1173.22800000		7.0675142032	-3.8688041049	0.0100036656	-0.2585725532
1332.492	0.004			09/17/2014	4.13E+006	9.00E+002	14576.03	0	230256000	14744	147	0.0192222	0.0001923	1332.49200000		7.1948061523	-3.9516917647	0.010004028	-0.2531581043

		Eu-152
		Area	Error			Energy	Error	br(E)	Error	Area Relative are to 1400~keV	Error	Branching Ratio	Error				Relative Efficiency	Error
		757396	1395	757	1	121.777	0.005	28.530	0.016	5.93	0.03	1.367	0.006			121.7770	4.34	0.03	0.6100071619	4.8021915	1.4676530	0.0061001	0.4156344594	4.3390394629		-2.8713864612					221571.260659664		4.8021915	1.4881737	1.0000000
		145019	818	145	1	244.70	0.01	7.55	0.04	1.136	0.008	0.362	0.002			244.7000	3.14	0.03	0.9663837996	5.5000330	1.1440401	0.0096638	0.8447114465	313.942649322		-312.7986091842					1047684080.85993		5.5000330	1.2689629	1.0000000
		408679	949	409	1	344.2785	0.0012	26.6	0.02	3.20	0.01	1.274	0.006			344.2785	2.512	0.016	0.6281876254	5.8414509	0.9211177	0.0062819	0.6819840744	251.2096677853		-250.2885500511					1587461534.10445		5.8414509	1.0273973	1.0000000
		39906	384	40	0	443.965	0.003	3.15	0.02	0.313	0.003	0.1511	0.0013			443.9650	2.07	0.03	1.3494125939	6.0957457	0.7265781	0.0134941	1.8572160834	206.7992092091		-206.0726310764					233212118.472487		6.0957457	0.8200490	1.0000000
		114844	546	114.8	0.5	778.9045	0.00024	12.93	0.08	0.899	0.006	0.620	0.005			778.9045	1.452	0.014	0.9715353935	6.6578884	0.3727474	0.0097154	2.6064174471	145.1717626874		-144.7990152618					222133450.683579		6.6578884	0.4149575	1.0000000
		34963	351	35.0	0.4	867.380	0.003	4.23	0.03	0.274	0.003	0.203	0.002			867.3800	1.351	0.018	1.3586335062	6.7654772	0.3008113	0.0135863	4.5165640727	135.0954391193		-134.7946278201					98432955.7198064		6.7654772	0.3297884	1.0000000
		112709	504	112.7	0.5	964.057	0.005	14.51	0.07	0.883	0.005	0.695	0.004			964.0570	1.270	0.011	0.8762049388	6.8711504	0.2386941	0.0087620	3.670827162	126.9590162505		-126.7203221088					209161208.681165		6.8711504	0.2694067	1.0000000
		97176	460	97	0	1112.069	0.03	13.67	0.08	0.761	0.005	0.655	0.005			1112.0690	1.162	0.011	0.9495279147	7.0139775	0.1500430	0.0094953	6.3283698823	116.1884260038		-116.0383829544					149344028.625772		7.0139775	0.1547657	1.0000000
		9366	184	9.4	0.2	1212.948	0.011	1.415	0.008	0.073	0.001	0.0678	0.0005			1212.9480	1.082	0.023	2.1246532533	7.1008090	0.0786795	0.0212465	27.0038945233	108.1857544549		-108.1070749426					25890003.4486201		7.1008090	0.0997521	1.0000000
		10093	165	10.1	0.2	1299.142	0.008	1.633	0.011	0.079	0.001	0.0782	0.0006			1299.1420	1.010	0.019	1.8604691438	7.1694593	0.0101462	0.0186047	183.3655059957	101.0197880527		-101.0096418198					29476826.0834099		7.1694593	0.0531205	1.0000000
		127688	493	128	0	1408.006	0.003	20.87	0.09	1.000	0.005	1.000	0.006			1408.0060	1.000	0.008	0.8185841275	7.2499298	0.0000000	0.0081858	#DIV/0!	100		-100					149235917.960678		7.2499298	0.0000000	1.0000000
					0	1
					0.0	1.4
		Ba-133
		Area	Error			Energy	Error	Ratio	Error	Area Relative are to 1400~keV	Error	Branching Ratio	Error				Relative Efficiency	Error
		22915	1012	22.9	1.0	53.1622	0.0006	2.14	0.03	0.4848	0.022	0.24	0.004			53.16220	2.025	0.097	4.7722415162	3.9733476	0.7056879	0.04772242	6.7625379666	0		0.7056879443					218.6656509214
				0.0	0.0	79.6142	0.0012	2.65	0.05	0.0000	#DIV/0!	0.30	0.01			79.61420	0.00	#DIV/0!	#DIV/0!	4.3771925	Err:502	#DIV/0!	#DIV/0!					4.3771925	0.1519379	1.0000000
		341608	1633	341.6	1.6	80.9979	0.0011	32.9	0.3	7.2270	0.08	3.68	0.04			80.99790	1.964	0.030	1.5379053502	4.3944232	0.6748933	0.0153791	2.2787385787	0		0.6748932785					1925.7991475148		4.3944232	0.1736337	1.0000000
		48316	543	48.3	0.5	276.3989	0.0012	7.2	0.05	1.0222	0.01	0.801	0.008			276.39890	1.276	0.022	1.7481010655	5.6218451	0.2439548	0.0174810	7.165674773	0		0.2439548432					194.753743321		5.6218451	0.2447143	1.0000000
		111471	148	111.5	0.1	302.8508	0.0005	18.3	0.13	2.3583	0.02	2.05	0.02			302.85080	1.150	0.016	1.3510112589	5.7132403	0.1393821	0.0135101	9.6928636156	0		0.139382056					106.4377771145		5.7132403	0.1787626	1.0000000
		339158	87	339.2	0.1	356.0129	0.0007	62.05	0.01	7.1752	0.07	6.94	0.05			356.01290	1.034	0.012	1.1428371987	5.8749670	0.0332276	0.0114284	34.3941944773	0		0.0332276193					8.4533668187		5.8749670	0.0584730	1.0000000
		47268	437	47.3	0.4	383.8485	0.0012	8.94	0.06	1.0000	0.01	1.000	0.009			383.84850	1.000	0.016	1.6156479339	5.9502479	0.0000000	0.0161565	#DIV/0!	0		0					0		5.9502479	0.0000000	1.0000000

		Co-56
		Area	Error			Energy	Error	Ratio	Error	Area Relative are to 1400~keV	Error	Branching Ratio	Error				Relative Efficiency	Error
		191529	655	192	1	846.51	0.006	99.940	0.0001	1.8399442817	0.0105204458	1.504	0.003			846.5100	1.22	0.03	2.6518531412	6.7411220	0.2017665	0.0265185	13.1431755148	0		0.2017665471		1.2235623306		7.6085113439		57.8894448707		6.7411220	0.2791331	1.0000000
		23984	297	24.0	0.3	1037.843	0.004	14.050	0.04	0.2304049186	0.0030422435	0.211	0.0007			1037.8430	1.09	0.03	2.9066856851	6.9448998	0.0860609	0.0290669	33.7747673407	0		0.0860608648		1.0898726611		2.9607901956		8.7662785822		6.9448998	0.1370649	1.0000000
		104095	477	104	0	1238.288	0.003	66.460	0.12	1.0000000	0.0064804253	1.000	0.003			1238.2880	1.00	0.03	2.6693353221	7.1214851	0.0000000	0.0266934	#DIV/0!	0		0		1		0		0		7.1214851	0.0000000	1.0000000
		6063	157	6.1	0.2	1360.212	0.004	4.230	0.07	0.0582448725	0.0015316709	0.064	0.0011			1360.2120	0.92	0.03	3.6906318493	7.2153958	-0.0887009	0.0369063	-41.6075812459	0		-0.0887009468		0.915119202		-2.4034081532		5.7763707507		7.2153958	-0.0321672	1.0000000
		3247	74	3.2	0.1	2015.215	0.005	3.016	0.012	0.0311926606	0.0007251165	0.045	0.0002			2015.2150	0.69	0.02	3.4798469263	7.6084812	-0.3749036	0.0347985	-9.2819769541	0		-0.3749036378		0.6873555107		-10.7735669345		116.0697444926		7.6084812	-0.3853177	1.0000000
		8255	130	8.3	0.1	2034.791	0.005	7.770	0.03	0.0793025602	0.001300655	0.117	0.0005			2034.7910	0.678	0.021	3.0651878349	7.6181484	-0.3881548	0.0306519	-7.8968187153	0		-0.3881547678		0.678307355		-12.6633272974		160.3598582401		7.6181484	-0.3671271	1.0000000
		14690	173	14.7	0.2	2598.5	0.004	16.970	0.04	0.1411210913	0.001783321	0.255	0.0008			2598.5000	0.553	0.016	2.8813681773	7.8626896	-0.5929838	0.0288137	-4.8591012499	0		-0.5929837699		0.5526757648		-20.5799374939		423.5338272538		7.8626896	-0.5793814	1.0000000
		817	53	0.8	0.1	3009.645	0.004	1.036	0.013	0.0078485998	0.000510419	0.016	0.0002			3009.6450	0.50	0.04	6.9998901428	8.0095774	-0.6861870	0.0699989	-10.2011405833	0		-0.6861870088		0.503492225		-9.8028253982		96.0953857873		8.0095774	-0.7227026	1.0000000
		2276	76	2.3	0.1	3202.029	0.008	3.209	0.012	0.0218646429	0.0007369449	0.048	0.0002			3202.0290	0.453	0.019	4.2503613735	8.0715400	-0.7922435	0.0425036	-5.3649682584	0		-0.7922435267		0.4528277237		-18.639439263		347.4286960377		8.0715400	-0.7756718	1.0000000
		5409	108	5.4	0.1	3253.503	0.004	7.923	0.021	0.05196215	0.0010644861	0.119	0.0004			3253.5030	0.436	0.014	3.3018284978	8.0874875	-0.8304094	0.0330183	-3.9761455224	0		-0.8304093699		0.4358708174		-25.1499849383		632.5217423984		8.0874875	-0.8382633	1.0000000
		1238	53	1.2	0.1	3273.079	0.004	1.876	0.02	0.0118929824	0.0005120586	0.028	0.0003			3273.0790	0.42	0.02	5.0242587776	8.0934864	-0.8642951	0.0502426	-5.8131291773	0		-0.8642950508		0.4213484772		-17.2024389878		295.9239071276		8.0934864	-0.7837287	1.0000000
		594	36	0.6	0.0	3451.232	0.004	0.949	0.005	0.005706326	0.0003468251	0.014	0.00008			3451.2320	0.40	0.03	6.606535955	8.1464865	-0.9172332	0.0660654	-7.2026789292	0		-0.91723316		0.3996232063		-13.8837231235		192.75776777		8.1464865477	-0.9030983758	1.0000000

		191.5	0.7
		24.0	0.3
		104.1	0.5					3752258487.13327
		6.06	0.16
		3.25	0.07
		8.26	0.13
		14.7	0.2
		0.82	0.05
		2.28	0.08
		5.41	0.11					Without 53
		1.24	0.05
		0.59	0.04
					1	x	X^2
					0.3173105079			1.7108820799				1	2.86E-002	-9.15E-003	7.22E-004	-3.31E-003	1.87E-005	3.04E-004	-5.78E-004	-5.78E-004
					x	-9.15E-003	2.95E-003	-2.34E-004	1.03E-003	-3.39E-005	-1.30E-004	1.74E-004	1.74E-004
					Old					X^2	7.22E-004	-2.34E-004	1.86E-005	-7.91E-005	3.39E-006	1.13E-005	-1.41E-005	-1.41E-005
		New					1.7081407613					-3.31E-003	1.03E-003	-7.91E-005	6.25E-004	6.26E-006	-3.44E-005	5.08E-005	5.08E-005
					53.1622	14201	569		0.0505233423					1.87E-005	-3.39E-005	3.39E-006	6.26E-006	6.47E-005	6.39E-005	4.62E-005	4.62E-005
		53.1622	5913	344		0.0605672611		79.6142					3.04E-004	-1.30E-004	1.13E-005	-3.44E-005	6.39E-005	9.55E-005	3.94E-005	3.94E-005
		79.6142	35229	291				80.9979					-5.78E-004	1.74E-004	-1.41E-005	5.08E-005	4.62E-005	3.94E-005	1.11E-004	1.11E-004
		80.9979	429461	949				276.3989
		276.3989	100011	448				302.8508
		302.8508	239719	671				356.0129					-1.672893		604	6.4035741979	3.68E-003		3.74E-003		6.62677716781698E-005	1.8020125759
		356.0129	718804	1137				383.8485	281078	832					-0.491857		661	6.4937538399	3.44E-003		3.50E-003		6.10321409317705E-005	1.7738733975
		383.8485	97627	422					-0.019095		795	6.6783421147	3.00E-003		3.05E-003		5.12225568957002E-005	1.7077279172
					911	6.8145428973	2.71E-003		2.75E-003		4.488215743786E-005	1.6571629894
					1460	7.2861917147	1.89E-003		1.92E-003		3.05131330124802E-005	1.6131694207

					83	13207	304
		80.9979	800.573				0.1009027418	0.232724261
		276.3989	2736.74				0.000012536	0.0371931444
		302.8508	2998.852				0.9999999537	0.0295832156
		356.0129	3525.94				64787009.2642142	3
		383.8485	3802.19				56699.4297032201	0.0026254999					1	x	2x*x_0-x_0^2	(x-x_0)^2	1	1	1
					1	2.86E-002	-9.15E-003	7.22E-004	-3.31E-003
					x	-9.15E-003	2.95E-003	-2.34E-004	1.03E-003					x0	195.469199	5.2754028171
					2x*x_0-x_0^2	7.22E-004	-2.34E-004	1.86E-005	-7.91E-005
					(x-x_0)^2	-3.31E-003	1.03E-003	-7.91E-005	6.25E-004
		80.9979	361.975				0.2240362309	-0.061050542					1					2x*x_0-x_0^2	27.8298748831
		276.3989	1233.688				6.28165618209328E-005	0.0840157891					1					(x-x_0)^2	0
		302.8508	1351.841				0.9999997642	0.0667644397					1
		356.0129	1589.4323				12720031.6206728	3
		383.8485	1713.902				56699.4189562488	0.0133724712

					1	x	2x*x_0-x_0^2	(x-x_0)^2	x^2	X(2x*x_0-x_0^2)	(2x*x_0-x_0^2)^2	(x-x_0)^2*(2x*x_0-x_0^2)	(x-x_0)^4	x*(x-x_0)^2
					0.02860123	-0.01830906	0.0014445162	-0.006618336	2.95E-003	-0.0004680492	1.86E-005	-0.0001581142	6.25E-004	0.002055714
					-0.0965876667	0.0402007051	0	0.0821742734	-0.0687160818	0.0144157736	0	0	0	7.23E-002
					-1.672893					2.8601E-002	-1.8309E-002	4.3973E-003	2.0557E-003	6.2480E-004
					-0.491857
					-0.019095					prediction	error
					-1.181594		alpha	-34.02509		195.469199	5.2754028171	0.0082375353	1.3959E-002					8.82336001046206E-005		0.0278739652
					2.7294585598		beta	11.773442
					2.3564704082					2.302585093
					2.6771972141					1	x	X^2	X^3	X^4
					2.86E-002	-0.01830906	0.0043972522	-0.0004680492	1.86E-005

					1	2.86E-002	-9.15E-003	7.22E-004	-3.31E-003		-1.672893	a		1	x	X^2	X^3	X^4
					0	-9.15E-003	2.95E-003	-2.34E-004	1.03E-003		-0.491857	b		2.86E-002	-0.01830906	-0.0036656	0.002055714	6.25E-004		0.1691189818
					0	7.22E-004	-2.34E-004	1.86E-005	-7.91E-005		-0.019095	c
					0	-3.31E-003	1.03E-003	-7.91E-005	6.25E-004		-1.181594	g
					1	x	2xx_0-x_0^2	(x-x_0)^2	x(2xx_0-x_0^2 )	(2xx_0-x_0^2 )^2	(x-x_0)^4	(2xx_0-x_0^2)*(x-x_0)^2	x(x-x_0)^2	X^2
					2.86E-002	-0.01830906	0.0014445162	-0.006618336	-0.0004680492	1.86E-005	6.25E-004	-0.0001581142	0.002055714	2.95E-003
					-0.0800004829	0.0263932179	-0.0054320284	-0.0373669796	0.0062137718	0.0004208876	-0.0023711233	0.0073722911	0.0563738558		2.05E-004

					x	2xx_0-x_0^2	(x-x_0)^2		error		prediction
					79	4.3694478525	18.2713201374	0.820754398		0.0060408838		0.0058534395			3.2022937338
					27	81.8400577102	251.4778588279			-71.9211446596

					2.86E-002	-9.15E-003	7.22E-004	-3.31E-003	1.87E-005	3.04E-004	-5.78E-004
					-9.15E-003	2.95E-003	-2.34E-004	1.03E-003	-3.39E-005	-1.30E-004	1.74E-004
					7.22E-004	-2.34E-004	1.86E-005	-7.91E-005	3.39E-006	1.13E-005	-1.41E-005
					-3.31E-003	1.03E-003	-7.91E-005	6.25E-004	6.26E-006	-3.44E-005	5.08E-005
					1.87E-005	-3.39E-005	3.39E-006	6.26E-006	6.47E-005	6.39E-005	4.62E-005
					3.04E-004	-1.30E-004	1.13E-005	-3.44E-005	6.39E-005	9.55E-005	3.94E-005
					-5.78E-004	1.74E-004	-1.41E-005	5.08E-005	4.62E-005	3.94E-005	1.11E-004

## Sheet2
				With 53

				1	x	X^2
	1.7081407613				1	2.86E-002	-9.15E-003	7.22E-004	-3.31E-003	1.87E-005	3.04E-004	-5.78E-004	-5.78E-004
				x	-9.15E-003	2.95E-003	-2.34E-004	1.03E-003	-3.39E-005	-1.30E-004	1.74E-004	1.74E-004
				X^2	7.22E-004	-2.34E-004	1.86E-005	-7.91E-005	3.39E-006	1.13E-005	-1.41E-005	-1.41E-005
	1.7081407613					-3.31E-003	1.03E-003	-7.91E-005	6.25E-004	6.26E-006	-3.44E-005	5.08E-005	5.08E-005
				1.87E-005	-3.39E-005	3.39E-006	6.26E-006	6.47E-005	6.39E-005	4.62E-005	4.62E-005
				3.04E-004	-1.30E-004	1.13E-005	-3.44E-005	6.39E-005	9.55E-005	3.94E-005	3.94E-005
				-5.78E-004	1.74E-004	-1.41E-005	5.08E-005	4.62E-005	3.94E-005	1.11E-004	1.11E-004

				-2.119256		604	6.4035741979	3.67E-003		3.80E-003		0.0001247491	3.3963431216
				-0.361421		661	6.4937538399	3.44E-003		3.55E-003		0.0001149594	3.3429023254
				-0.028608		795	6.6783421147	3.00E-003		3.10E-003		0.000096546	3.2173321133
				911	6.8145428973	2.71E-003		2.79E-003		8.460091058226E-005	3.1213878433
				1460	7.2861917147	1.89E-003		1.95E-003		5.74046310875802E-005	3.0379461515

				1	x	2x*x_0-x_0^2	(x-x_0)^2	1	1	1
				1	2.86E-002	-9.15E-003	7.22E-004	-3.31E-003
				x	-9.15E-003	2.95E-003	-2.34E-004	1.03E-003					x0	176.730811	5.1746277331
				2x*x_0-x_0^2	7.22E-004	-2.34E-004	1.86E-005	-7.91E-005
				(x-x_0)^2	-3.31E-003	1.03E-003	-7.91E-005	6.25E-004
				1					2x*x_0-x_0^2	26.7767721763
				1					(x-x_0)^2	0
				1

				1	x	2x*x_0-x_0^2	(x-x_0)^2	x^2	X(2x*x_0-x_0^2)	(2x*x_0-x_0^2)^2	(x-x_0)^2*(2x*x_0-x_0^2)	(x-x_0)^4	x*(x-x_0)^2
				0.02860123	-0.01830906	0.0014445162	-0.006618336	2.95E-003	-0.0004680492	1.86E-005	-0.0001581142	6.25E-004	0.002055714
				-0.0947425696	0.0386794812	0	0.0790647392	-0.0648528166	0.0133454091	0	0	0	7.52E-002
-2.119256					2.8601E-002	-1.8309E-002	4.3973E-003	2.0557E-003	6.2480E-004
-0.361421
-0.028608					prediction	error
-1.531272		alpha	-42.35575		176.730811	5.1746277331	0.0086042391	1.4423E-002					9.54732002483825E-005		0.0275573317
2.7294585598		beta	15.190034
2.3564704082					2.302585093
2.6771972141					1	x	X^2	X^3	X^4
				2.86E-002	-0.01830906	0.0043972522	-0.0004680492	1.86E-005

				1	2.86E-002	-9.15E-003	7.22E-004	-3.31E-003		-2.119256	a		1	x	X^2	X^3	X^4
				0	-9.15E-003	2.95E-003	-2.34E-004	1.03E-003		-0.361421	b		2.86E-002	-0.01830906	-0.0036656	0.002055714	6.25E-004		0.1691189818
				0	7.22E-004	-2.34E-004	1.86E-005	-7.91E-005		-0.028608	c
				0	-3.31E-003	1.03E-003	-7.91E-005	6.25E-004		-1.531272	g
				1	x	2xx_0-x_0^2	(x-x_0)^2	x(2xx_0-x_0^2 )	(2xx_0-x_0^2 )^2	(x-x_0)^4	(2xx_0-x_0^2)*(x-x_0)^2	x(x-x_0)^2	X^2
				2.86E-002	-0.01830906	0.0014445162	-0.006618336	-0.0004680492	1.86E-005	6.25E-004	-0.0001581142	0.002055714	2.95E-003
				-0.0843163372	0.0301662804	-0.0021462066	-0.0450128528	0.0081173475	0.000065703	-0.0010707622	0.0030699485	0.0626204217		9.48E-005

				x	2xx_0-x_0^2	(x-x_0)^2		error		prediction
				100	4.605170186	20.8833105439	0.324281898		0.0079265326		0.0076148518			4.0930642881
				27	81.8400577102	251.4778588279			-71.9211446596

1.87E-005	3.04E-004	-5.78E-004
-3.39E-005	-1.30E-004	1.74E-004
3.39E-006	1.13E-005	-1.41E-005