## Sheet1
***Efficiency Tests. Measurements from Maestro for live time and from Radware for photopeak area.***
	Source Data			Error
original activity (s-1)	38480			384.8
half life (s)	166371667.2			31557.6					5			8192
lifetime (s)	240023579.2			45528.0
date of calibration	06/01/2007			---
					8192
All Data taken with the source 25 cm below the bottom face of the detector unless otherwise stated
Channel 1
				date of measurement	N photopeak	dN	measurement live time (s)	dt (s)	time since source calibration (s)	current source activity (s-1)	dA (s-1)	Efficiency	dEff
1173.228	0.003			09/29/2014	4.88E+06	3.03E+03	155298	0	231292800	14680	147	0.0021386	0.0000214	1173.22800000	0.00214	0.00002	1.0021009981	3.0693824	-2.6698737	0.0043521		-2.6656321687		-0.0042415672			661	2.8202014595		0.331230899
1332.492	0.004			09/29/2014	4.48E+06	4.20E+03	155298	0	231292800	14680	147	0.0019651	0.0000197	1332.49200000	0.00197	0.00002	1.0045510992	3.1246646	-2.7066197	0.0043627		-2.707990715		0.0013709754					0.0987521605		0.4299830595

Eu-152
Area	Error			Energy	Error	br(E)	Error	Area Relative are to 1400~keV	Error	Branching Ratio	Error				Relative Efficiency	Error
1.34E+006	3.49E+003	1344	3	121.777	0.005	28.530	0.016	6.19	0.03	1.367	0.006			121.7770	4.53	0.03	0.6777210025	2.0855653	0.6559776	0.0029433		0.0085838391		0.6473937294					48380.0668487821			1.7108820799
2.79E+005	3.65E+003	279	4	244.70	0.01	7.55	0.04	1.284	0.018	0.362	0.002			244.7000	3.55	0.05	1.5450717176	2.3886340	0.5501696	0.0067102		0.6727807424		-0.1226111906					333.8830021275
7.74E+005	3.04E+003	774	3	344.2785	0.0012	26.6	0.02	3.56	0.02	1.274	0.006			344.2785	2.80	0.02	0.7407801318	2.5369099	0.4466019	0.0032172		0.5300366496		-0.0834347495					672.5841945079
7.24E+004	1.72E+003	72	2	443.965	0.003	3.15	0.02	0.334	0.008	0.1511	0.0013			443.9650	2.21	0.06	2.5683260122	2.6473487	0.3438115	0.0111541		0.4183265733		-0.0745151202					44.6292808184
2.01E+005	1.28E+003	200.7	1.3	778.9045	0.00024	12.93	0.08	0.924	0.007	0.620	0.005			778.9045	1.49	0.02	1.0850317584	2.8914842	0.1736937	0.0047122		0.282746816		-0.1090530929					535.5776573665
6.08E+004	8.64E+002	60.8	0.9	867.380	0.003	4.23	0.03	0.280	0.004	0.203	0.002			867.3800	1.38	0.02	1.7055766854	2.9382094	0.1406266	0.0074072		0.2620176967		-0.1213910721					268.5730114993
1.98E+005	1.15E+003	197.9	1.1	964.057	0.005	14.51	0.07	0.912	0.007	0.695	0.004			964.0570	1.31	0.01	0.978452881	2.9841027	0.1176955	0.0042494		0.2485418623		-0.1308463141					948.1445003946
1.71E+005	1.51E+003	171	2	1112.069	0.03	13.67	0.08	0.787	0.008	0.655	0.005			1112.0690	1.20	0.01	1.2294244719	3.0461317	0.0796569	0.0053393		0.2276988929		-0.1480419738					768.7717268903
1.60E+004	4.14E+002	16.0	0.4	1212.948	0.011	1.415	0.008	0.074	0.002	0.0678	0.0005			1212.9480	1.08	0.03	2.7269808093	3.0838422	0.0351243	0.0118431		0.205507784		-0.1703835078					206.9771120362
1.75E+004	3.84E+002	17.5	0.4	1299.142	0.008	1.633	0.011	0.081	0.002	0.0782	0.0006			1299.1420	1.03	0.02	2.3763549579	3.1136566	0.0133437	0.0103204		0.1954554328		-0.1821116864					311.3754615674
2.17E+005	9.78E+002	217	1	1408.006	0.003	20.87	0.09	1.000	0.006	1.000	0.006			1408.0060	1.00	0.01	0.881890103	3.1486045	0.0000000	0.0038300		0.1895413633		-0.1895413633					2449.1221085907		54919.7049045808

Ba-133
Area	Error			Energy	Error	Ratio	Error	Area Relative are to 1400~keV	Error	Branching Ratio	Error				Relative Efficiency	Error
1.30E+004	6.01E+002	13.0	0.6	53.1622	0.0006	2.14	0.03	0.046695076	0.0021702224	0.24	0.00			53.16220	0.195	0.010	4.9006419605	1.7256029	-0.7098052	0.0212832	4.9006419605	-0.8787554035		0.1689502352					63.0148677464
9.72E+005	1.91E+003	971.9	1.9	80.9979	0.0011	35.6	0.3	3.5040270537	0.0115034215	3.98	0.04			80.99790	0.881	0.010	1.1270945083	1.9084738	-0.0549346	0.0048949		-0.1533843191		0.0984496834					404.5194018371
2.84E+005	1.00E+003	283.9	1.0	276.3989	0.0012	7.2	0.05	1.0236864306	0.0045071622	0.801	0.008			276.39890	1.278	0.014	1.063926492	2.4415363	0.1065914	0.0046206		0.0998635947		0.0067278484					2.1201203919
6.61E+005	1.43E+003	660.5	1.4	302.8508	0.0005	18.3	0.13	2.3812794278	0.0081039487	2.05	0.02			302.85080	1.161	0.012	1.0337754535	2.4812287	0.0647485	0.0044896		0.0728859471		-0.0081373996					3.2851123486
2.04E+006	2.29E+003	2035.5	2.3	356.0129	0.0007	62.05	0.01	7.338333802	0.0209752743	6.94	0.05			356.01290	1.057	0.008	0.7296503069	2.5514657	0.0241932	0.0031688		0.024622429		-0.0004292332					0.0183479888
2.77E+005	7.29E+002	277.4	0.7	383.8485	0.0012	8.94	0.06	1	0.0037168649	1.000	0.009			383.84850	1.000	0.010	1.0193189732	2.5841598	0.0000000	0.0044268		0.0019274703		-0.0019274703					0.18957739		473.1474277028

Co-56
Area	Error			Energy	Error	Ratio	Error	Area Relative are to 1400~keV	Error	Branching Ratio	Error				Relative Efficiency	Error
2.60E+006	2.71E+003	2604	3	846.51	0.006	99.940	0.0001	1.9852720844	0.0034566284	1.504	0.003			846.5100	1.320	0.004	0.275732826	2.9276321	0.1206415	0.0011975		0.1256857428		-0.0050442805		0.0027291943		-4.2123693893		17.7440558718
3.19E+005	1.14E+003	318.6	1.1	1037.843	0.004	14.050	0.04	0.242948084	0.0009344704	0.211	0.0007			1037.8430	1.149	0.005	0.4400674384	3.0161317	0.0603975	0.0019112		0.0593833448		0.0010141463		0.0023756939		0.5306364257		0.2815750163
1.31E+006	1.83E+003	1312	2	1238.288	0.003	66.460	0.12	1.0000000	0.0019743649	1.000	0.003			1238.2880	1.000	0.003	0.2910227149	3.0928217	0.0000000	0.0012639		0.0010659348		-0.0010659348		0.00206725		-0.8433725372		0.7112772365
8.76E+004	1.26E+003	87.6	1.3	1360.212	0.004	4.230	0.07	0.0667544526	0.0009614303	0.064	0.0011			1360.2120	1.049	0.015	1.4560323149	3.1336066	0.0207002	0.0063235		-0.0302743857		0.0509745945		0.0021681694		8.0611769426		64.9825736994
4.15E+004	4.59E+002	41.5	0.5	2015.215	0.005	3.016	0.012	0.0316128653	0.0003527466	0.045	0.0002			2015.2150	0.697	0.008	1.1361317605	3.3043214	-0.1570071	0.0049342		-0.1639148643		0.0069077255		0.0014400775		1.399980734		1.9599460555
1.05E+005	6.24E+002	105.3	0.6	2034.791	0.005	7.770	0.03	0.0802967237	0.0004888107	0.117	0.0005			2034.7910	0.687	0.004	0.645210245	3.3085198	-0.1631629	0.0028021		-0.1672515094		0.0040886531		0.0014198097		1.4591323755		2.1290672892
1.89E+005	7.40E+002	189.5	0.7	2598.5	0.004	16.970	0.04	0.1444648702	0.0005991928	0.255	0.0008			2598.5000	0.566	0.003	0.4666313536	3.4147227	-0.2473593	0.0020266		-0.2524533158		0.0050940623		0.0011695903		2.5136570219		6.3184716237
1.01E+004	1.82E+002	10.1	0.2	3009.645	0.004	1.036	0.013	0.0076849586	0.0001391841	0.016	0.0002			3009.6450	0.493	0.009	1.8236999281	3.4785153	-0.3071579	0.0079202		-0.3043695564		-0.002788328		0.001019143		-0.3520514764		0.123940242
2.90E+004	3.10E+002	29.0	0.3	3202.029	0.008	3.209	0.012	0.0221208473	0.0002383754	0.048	0.0002			3202.0290	0.458	0.005	1.0986108626	3.5054253	-0.3390076	0.0047712		-0.326435876		-0.0125717466		0.0009470772		-2.6349198933		6.9428028439
7.05E+004	4.46E+002	70.5	0.4	3253.503	0.004	7.923	0.021	0.0537725987	0.0003482503	0.119	0.0004			3253.5030	0.451	0.003	0.6820150719	3.5123512	-0.3457683	0.0029620		-0.3321311442		-0.0136371491		0.0009324482		-4.6041059175		21.1977912995
1.66E+004	2.36E+002	16.6	0.2	3273.079	0.004	1.876	0.02	0.0126799149	0.0001808121	0.028	0.0003			3273.0790	0.449	0.006	1.4419123002	3.5149565	-0.3475330	0.0062621		-0.3342751757		-0.0132578327		0.000928667		-2.1171390122		4.4822775971
7.97E+003	1.79E+002	8.0	0.2	3451.232	0.004	0.949	0.005	0.0060746171	0.0001367458	0.014	0.00008			3451.2320	0.425	0.010	2.2612319014	3.5379742	-0.3711870	0.0098204		-0.3532578925		-0.017929077		0.0008794396		-1.8256962227		3.3331666974		130.2069454721

					55523.4892608151		2313.4787192006

	3361.3582			846.51		0.2519028352	-0.2256607097					a	-0.966796		-27.9602057173
	4120.909			1037.843		0	0					b	-0.3444962		23.7444611988
	4917.786			1238.288		1	0					c	-0.068086
					0.2517146849	0.4551719094					g	-5.442341
					0.0001051827	0.4398649313					d	2.722296
					0.9999998254	0.1157709895					e	2.313627
					5727021.71178145	1					f	2.684607
					76758.8253297447	0.013402922

					1	x	X^2	X^3	X^4		y	yx	Yx^2
					174.238402
					1	2.9276321	0.1644635	0.0011692		36.0540663		731487.037798519	2141524.9273898	6269597.10514373	18355073.69449	53736902.8152944		120302.9175861	352202.682392867	1031119.87617423
					1	3.0161317	0.0588905	0.0016181		87.8864226		381933.984780297	1151963.1837007	3474472.63004137	10479466.9028619	31607451.9104418		22492.2993573	67839.7362079642	204613.576213947
					1	3.0928217	0.0000000	0.0012251		12.9659441		666254.286359417	2060605.6907744	6373085.92197372	19710818.2078229	60962045.5739159		0.0000000	0	0
					1	3.1336066	-0.0304750	0.0027060		0.1860951		136565.300987724	427941.9287710	1341001.65324387	4202171.63381738	13167952.7742149		-4161.8341143	-13041.5508568847	-40867.0898646696
					1	3.3043214	-0.1657828	0.0038241		5.9640395		68383.5425896823	225961.2023060	746648.433438811	2467166.38727044	8152310.65903776		-11336.8121023	-37460.4706912369	-123781.434476582
					1	3.3085198	-0.1665038	0.0022858		27.5389286		191392.587111266	633226.1655722	2095041.3117736	6931485.67869353	22932957.6671973		-31867.5884408	-105434.547591387	-348832.289159273
					1	3.4147227	-0.2474759	0.0017750		62.6128269		317405.177641525	1083850.6719060	3701049.51570069	12638057.8733972	43155463.3716104		-78550.1436068	-268226.960124364	-915920.69516404
					1	3.4785153	-0.3053840	0.0079202		0.2269592		15941.3322801581	55452.1677893	192891.212509218	670975.028508436	2333996.88365991		-4868.2279035	-16934.2051087942	-58905.8910866553
					1	3.5054253	-0.3417933	0.0037817		11.8969873		69923.2088406618	245110.5825933	859216.827936698	3011920.37324043	10558061.760179		-23899.2875839	-83777.1664141042	-293674.595434697
					1	3.5123512	-0.3469232	0.0025368		26.9921814		155396.691952594	545807.7592468	1917068.54445048	6733418.02467835	23650128.9566876		-53910.7194316	-189353.380709972	-665075.576143145
					1	3.5149565	-0.3501952	0.0049024		8.8422645		41607.829367317	146249.7097735	514061.366191843	1806903.33416896	6351186.59707348		-14570.8606164	-51215.9410550655	-180021.804284867
					1	3.5379742	-0.3730808	0.0068521		9.4213235		21298.4568498044	75353.3898670	266598.34580927	943218.0571264	3337081.10824432		-7946.0456685	-28112.9042064125	-99462.7284924097

					12					24.2156699229		2797589.43655897	8793047.37969004	27750732.8682133	87950675.196076	279945540.077557		-88316.3025248855	-373514.70815739	-1490808.65171816

					2797589.43655897	8793047.37969004	27750732.8682133		-88316.3025248855
					8793047.37969004	27750732.8682133	87950675.196076		-373514.70815739
					27750732.8682133	87950675.196076	279945540.077557		-1490808.65171816

					0.0383387418	-0.0239856193	0.0037350952		4.733500807		a
					-0.0239856193	0.0150143565	-0.0023393989		-2.1657120947		b
					0.0037350952	-0.0023393989	0.0003647177		0.2058504519		c

					1	x	X^2	X^3	X^4		y	yx	Yx^2

					1	2.0855653	0.6559776	0.0029433		1.8451197		115432.868250447	240742.7811460	502084.783583151	1047130.58769918	2183859.18782507		75721.3722373	157921.864204597	329356.355504297
					1	2.3886340	0.5501696	0.0067102		16.2536300		22209.2601108325	53049.7931349	126716.537949117	302679.427023917	722990.361213264		12218.8586798	29186.3809091671	69715.5808820772
					1	2.5369099	0.4466019	0.0032172		4.0872088		96616.8167636196	245108.1591574	621817.316052735	1577494.50639373	4001961.43378447		43149.2539480	109465.769608967	277704.794862392
					1	2.6473487	0.3913473	0.0108848		3.3562604		8440.3377532328	22344.5174642	59153.730017115	156600.552262712	414576.273751307		3303.1036741	8744.4673294692	23149.6545127738
					1	2.8914842	0.1736937	0.0047122		28.3462720		45034.6172820914	130216.8849059	376520.066960406	1088701.82946202	3147964.15246198		7822.2303418	22617.8555431743	65399.1722330987
					1	2.9382094	0.1406266	0.0074072		8.7057150		18225.895453409	53551.4974173	157345.513309397	462314.066881317	1358375.53890759		2563.0461573	7530.766322297	22126.9684274249
					1	2.9841027	0.1176955	0.0042494		3.6445507		55379.8204857284	165259.0725227	493150.046560598	1471610.39155265	4391436.56100136		6517.9583308	19450.2571341622	58041.5650705753
					1	3.0461317	0.0796569	0.0053393		0.8853844		35077.4221238033	106850.4486971	325480.542626046	991456.609868118	3020107.44273756		2794.1593762	8511.3775473434	25926.777251604
					1	3.0838422	0.0351243	0.0118431		0.4004195		7129.6336229047	21986.6649137	67803.4047185815	209094.999604017	644815.979977215		250.4232209	772.2656920071	2381.5455172884
					1	3.1136566	0.0133437	0.0103204		0.1137316		9388.7711256629	29233.4094002	91022.7988012035	283413.740360291	882453.069812091		125.2813808	390.0832012563	1214.5851432367
					1	3.1486045055	0	0.0038300001		13.2748478		68171.4354437501	214644.8887838	675831.863904936	2127927.25164402	6700001.33187888		0.0000000	0	0

					11					80.9131399268		481106.878415482	1282988.1175433	3496926.60448329	9718423.96275197	27468541.3333508		154465.687347035	364591.087492441	875016.999404768

					481106.878415482	1282988.1175433	3496926.60448329		154465.687347035
					1282988.1175433	3496926.60448329	9718423.96275197		364591.087492441
					3496926.60448329	9718423.96275197	27468541.3333508		875016.999404768

					0.0074137382	-0.0057973988	0.0011073133		0.4061950848		a
					-0.0057973988	0.0045505383	-0.0008719423		0.6222097557		b
					0.0011073133	-0.0008719423	0.000167563		-0.23999511		c

					0		1173.228			0.002139			0.000021	blue
					1		1332.492			0.001965			0.00002	blue
					1	2		121.8			0.008745			0.000351	red
					2	3		244.7			0.006853			0.000288	red
					3	4		344.3			0.005482			0.000221	red
					4	5		444			0.004865			0.000235	red
					5	6		778.9			0.002896			0.000121	red
					6	7		867.4			0.002683			0.000113	red
					7	8		964.1			0.002538			0.000102	red
					8	9		1112.1			0.00228			0.000092	red
					9	10		1212.9			0.002104			0.000092	red
					10	11		1299.1			0.002008			0.000082	red
					11	12		1408			0.00193			0.000078	red
					1	13		846.5			0.002928			0.000106	green
					2	14		1037.8			0.002296			0.000083	green
					3	15		1238.3			0.002006			0.000072	green
					4	16		1360.2			0.001869			0.000068	green
					5	17		2015.2			0.00137			0.000051	green
					6	18		2034.8			0.001368			0.00005	green
					7	19		2598.5			0.001135			0.000041	green
					8	20		3009.6			0.000993			0.00004	green
					9	21		3202			0.000913			0.000034	green
					10	22		3253.5			0.000903			0.000033	green
					11	23		3273.1			0.000895			0.000034	green
					12	24		3451.2			0.00085			0.000034	green
					25			53.2			0.001028			0.000069	pink
					26			81			0.004524			0.000209	pink
					27		276.4			0.006581			0.000299	pink
					28		302.9			0.005964			0.000272	pink
					29		356			0.00545			0.000249	pink
					30		383.8			0.005141			0.000236	pink